Lab 2 Microscopy

I.	Purpose:	To familiarize the student with the care and use of the light microscope.

II.	Performance objectives:	At the end of this exercise the student should be able to:

1.	Define resolving power, field of view, depth of field (focus), working distance

2.	Name the parts of the microscope describe the function of each.

3.	Use, clean and store the microscope using the techniques describe in this lab.

4.	Calculate the resolving power of a specific lens system if the numerical aperture 		and wavelength of light is given.

5.	Calculate the total magnification of a lens system if the power of the ocular and 		objective lens is given.

6.	Make a simple wet mount of a specimen.

7.	Know how to use the oil immersion lens.

8.	Answer the questions at the end of the lab exercise.

III.	Introduction

Only objects 0.1mm and larger can be visualized by the human eye.  Because most microorganisms are much smaller than 0.1mm, a microscope must be utilized in order to directly observe them.  In general, the diameter of microorganisms ranges from 0.2 - 2.0 microns.

A light microscope, which uses light as a source of illumination, will be employed in this lab.  There are several types of light microscopes.  The type used in this course is a brightfield microscope, where the specimen appears darker against a bright background.

IV.	Basic Principles

Resolving Power- ability of a lens system to separate fine detail

Resolution- smallest resolvable distance between two objects

Resolution of 10X objective lens ______________

Resolution of 40X objective lens ______________

Field of View- the circular viewing area of  a lens system.

Depth of Field- the vertical distance (thickness) of the specimen that is in sharp focus.

Working distance- the distance between the objective lens and specimen when the specimen is in focus

V.	Care of the microscope  	Observe the following precautions when using the 	microscope.

1. 	These microscopes are large and heavy.  Always use both hands when carrying the 	microscope.  One hand holds the arm while the other hand supports the base.  Always 	carry the scope in an upright position.  Do not bump the scope while removing it from 	the cabinet.

2. 	Several parts are loosely connected to the scope.  When the dust cover is removed or if 	the scope is tipped at an angle, the following parts may detach from the scope:

- Collector lens and blue filter (resting above the lamp),

- Rubber eye shields (these attach to the top of the eyepieces, the viewer's eyes rest on these shields),

3) 	The eyepieces, themselves, may be loose in the eyepiece tubes.  Always take care when removing the dust cover, and always carry the scope in an upright position.

3. Follow cleaning instructions carefully (Preparation for viewing.).

4. Do not let the electric cord dangle or become entangled.

VI.	Parts of the light microscope

1.	 Arm and base.

All other parts of the microscope are attached to the arm or base.

2. 	Mechanical stage: The platform on which the microscope slide rests and the clamping 	device that secures the slide.

3. 	Mechanical stage control knobs (x-y control knobs): These knobs, under the stage, move the stage front to back and the slide from side to side.

4. 	Lamp (illuminator).

The lamp on/off switch is located on the base.  The light intensity can be adjusted with 	this on/off switch.  The lamp should be adjusted to a medium level at the start of 	viewing.  The lamp or illuminator usually has a blue filter that  rests on the light 	housing or under the condenser.

5.  	Iris diaphragm: adjusts the amount of light reaching the specimen. It is adjusted with 	a thin, black lever under the stage. It has a dramatic effect on the contrast observed in 	the specimen and may need to be adjusted frequently.

6. 	Lens systems: There are three lens systems: the eyepieces (ocular), the objectives (four), 	and the condenser.

- Eyepieces (ocular): Magnification of 10X.  The eyepieces are held rather 	loosely in the eyepiece tubes.  Never remove the eyepieces from the eyepiece 	tubes.  A rubber eye shield should be on the top of each eyepiece. The width 	between the eyepieces should be moved until a full circle (the viewing field) is 	visible with both eyes simultaneously.

- Objectives: There are four objectives: 4X (red), 10X (yellow), 40X (blue), and 	100X (white, oil immersion objective).  The objectives are attached to a 	rotating nosepiece (nose turret).

The total magnification is calculated by multiplying the

ocular magnification and the magnification of the objective in use.

3)  	Condenser: The condenser is located directly beneath the stage.  It gathers and 		conducts the light      to the specimen. Although it can be raised and lowered 		with the condenser adjustment knob, the condenser should remain at its 			highest position.

7.	 Focusing knobs: located on both sides of the microscope.

The larger, inner coarse adjustment knob moves the stage up and down much faster 	and farther than the smaller, outer fine adjustment knob.  The coarse adjustment knob 	is used ONLY with the low power (4X, 10X) objectives.  When focusing under the 40X 	or 100X objective, ONLY use the fine adjustment, never the coarse adjustment.

8.	Nosepiece:  Holds the objective lenses

Refer to each of the following procedures every time the microscope is used.

VI. 	Preparation for viewing

- If you have not done so, carefully remove a scope from the cabinet and set it on your 	lab bench.  Remove the dust cover.  Check that no parts are loose or missing.  	Immediately contact the instructor if parts are missing or anything is wrong with the 	scope.

- There are two ways to position the oculars: toward or away from the stage.  The 	‘head’ containing the oculars is loosened or tightened using the silver Head 	Positioning Screw protruding below the microscope head. Do not loosen the screw too 	much as the head may detach completely.

- Plug in microscope.  Be sure the electrical cord is not dangling off of the lab bench or is 	not entangled.

4. 	Use the coarse adjustment knob to move the stage to its lowest level.

5.  	Cleaning the microscope.  Clean all objective lenses with lens paper  and, if necessary, 	liquid 	lens cleaner.  Place a small amount of liquid lens cleaner on the swab.  Use a 	fair amount of pressure to clean the lens.  Dry the lens with a different swab.  Use 	different swabs for each lens.  Do not use liquid lens cleaner on the eyepieces.  Dust on 	the eyepieces, or elsewhere, may be removed using the blower brush.  NEVER remove 	any parts.

6.  	Before use, clean all slides, top and bottom, with Kimwipes.  Place a coverslip over the 	specimen on the slide.  Do not use a coverslip if viewing prepared slides.

7.  	Adjust the condenser to its highest level.  Turn on the lamp.  Adjust the on/off switch to 	a low/medium light level.

8. 	Rotate the nosepiece until the 4X objective clicks into place.

9.  	Place the slide on the stage so that it is held within the slide holder clamping device.  	The slide must lie flat on the stage. Using the mechanical stage knobs, position the slide 	so that the specimen is in the exact center of the light coming through the condenser.

10.  	While looking through the eyepieces, adjust the width between the eyepieces until a 	single, circular field is seen simultaneously with both eyes.

11. 	If problems are encountered during viewing, repeat the procedure.  If problems persist, 	review the Common Problems section at the end of this document.

VIII. 	Viewing the specimen under the 4X, 10X, and 40X objectives

- Always start with a low power objective (4X or 10X) clicked into place.

The lowest power objectives have the largest field of view (a larger portion of the slide can be seen), making it easier to initially find the specimen.

2.  	Be sure to bring the stage to its lowest point with the coarse adjustment knob.  In other 	words, the stage should be as far away from the objective as possible.

3.  	Light control

Light intensity is a essential aspect of microscopy.  For optimal viewing, the light must be adjusted at each magnification.  Perform the following steps to adjust the light.  Always adjust the light while looking through the eyepieces.

a.  	Adjust the light intensity switch that turns the lamp on.  Begin at a low/medium 		level.

b. 	The entire viewing area (field) must be filled with light.

c.  	Locate the thin, black iris diaphragm lever under the stage.  Adjust this lever to 	a medium/low light level.  The iris diaphragm will need to be adjusted as 	magnifications increase.

4. 	Under low power, SLOWLY focus with the coarse adjustment knob until the specimen 	comes into view.  Adjust the light as instructed as needed.

Many specimens are very small and may look like specks at this magnification.  If the stage moves too quickly, you may go past the specimen without seeing it.

5.	 Refine the image with the fine adjustment knob and by adjusting the light.

- Important!  Before switching to the next objective, move the slide so that the desired 	specimen is located in the center of the field (circular viewing area).

7. 	SIGNIFICANT POINTS WHEN FOCUSING UNDER THE 4X,10X, AND 40X 	OBJECTIVES!

- Always start with a low power objective (4X or 10X).  After making appropriate 	observations, rotate the nosepiece until the next objective clicks into place.  Do 	not skip objectives.

- Do not move the stage up or down before rotating the nosepiece to the next 	objective. When properly focused, there is no need to adjust the objective's 	distance from the stage before increasing the magnification.

- DO NOT USE THE COARSE ADJUSTMENT KNOB WHEN FOCUSING 	UNDER THE 40X OBJECTIVE! ONLY USE THE FINE ADJUSTMENT 	KNOB!

- Before increasing the magnification, always move the slide so that the desired 	specimen is located in the center of the field.

e.   	Remember to adjust the light each time the magnification is changed if the area 		observed is too dark.

IX. 	100X Oil Immersion Procedure (will not be used in this exercise)

Immersion oil is used with the 100X objective because it increases the resolution.  The oil should come in contact with both the lens of the 100X objective and the slide or coverslip.  This prevents the scattering of light rays.

1. 	Position the specimen i in the EXACT CENTER of the viewing field under the 40X 	objective.

- NOTE!  Again, do not move the stage up or down before rotating the nosepiece to the 	100X objective. Rotate the 40X objective away from the slide but do not yet click the 	100X objective into place.

3.  	Put a small drop of immersion oil on the slide/coverslip directly over the light.

4. 	 Rotate the nosepiece until the 100X oil immersion objective is clicked into place.

5.  	DO NOT USE THE COARSE ADJUSTMENT KNOB WHEN FOCUSING 	UNDER THE 100X OBJECTIVE! ONLY USE THE FINE ADJUSTMENT 	KNOB!

6.  	Adjust the light for optimal viewing.

7. 	 In order to determine the size of your specimen, you will need to estimate utilizing 	the size of the field (circular viewing area).  When you observe your specimen, estimate 	its size by comparing it with the size of the field.

Objective			Size of field of view

40X						mm

100X						mm

When finished viewing, complete the Student Microscope Checklist.

X. Common Problems

1. 	The field is dark.

Is the light on?

Is the objective securely clicked into place?

Is the diaphragm open?

Is the slide lying flat on the stage?

2. 	You are not sure if you are looking at dirt on the objective lens or the specimen.

Use the mechanical stage knobs to move the slide slightly while looking through the 	eyepieces.  If what you are looking at does not move, it is probably dust or dirt on the 	objective.  If it does move, it is on the slide.

Rotate the ocular gently between your fingers.  If what you are looking at rotates, it is 	probably dirt on the ocular.

3. 	You cannot find the specimen.

The stage may be too far from the objective.  Did you start with the stage as close as 	possible to the low power objective?

Is the specimen directly over the light?

Is the slide secure and flat in the mechanical stage?

Did you start with a low power objective and focus on the lower objectives first?

Have you adjusted the light?

Are you moving the adjustment knobs too quickly?  Work slowly so you do not miss 	the specimen.

4. 	You are having trouble focusing.

Always start on a low power objective, and focus here first.

Focus SLOWLY!  It is very easy to move past the specimen if the adjustment knobs are 	moved too quickly.

Be sure to look in the ocular while you are focusing with the adjustment knobs or 	changing the light intensity.

Adjust the light.

Press down on the stage with your fingertips.  Does the stage move?  If so, tighten using 	the knob next to the coarse adjustment.

5. 	You lose the specimen when switching from the 40X objective to the oil immersion 	objective.

Was the specimen in the exact center of the field before switching to the 100X objective?

Is the 100X objective lens clean?

Have you adjusted the light?

Have you refined the image with the fine adjustment?

XI 	Assignment (see attached Lab Report):

A.	Preparation of a Wet Mount

1.	Add one or two drops of IKI solution to the central region of a clean glass slide.

2.	Using a toothpick gently scrape the inside of your cheek to obtain epithelial 		cells.

3.	Place the cheek cells into the IKI on the slide and mix.

4.	Place the cover glass so that one edge touches and glass slide and then gently 		lower the cover slip.

5.	View the specimen with all objective lenses except the oil immersion lens.  		Draw what you see on the data sheet provided.

B.	Preparation of Hair

1.	Prepare a wet mount of two crossed hairs

2.	Study the slide under 40X, 100X, and 400X (total magnification)

3. 	 Observe the differences in depth of field, field of view and working distance 		between these powers.

C.	Letter "e".

1.	Prepare a wet mount using the letter "e" as the specimen.  Place the preparation 		with the letter "e" on stage so that you can read the letter "e" as in the 			previous sentence.

2.	Study the slide under 40X, 100X, and 400X (total magnification).  What 			observation did you make when you looked at the "e" for the first time under 		low power (40X)?

______________________________________________________________

3.	Using 40X total magnification (low power) while looking at the letter"e", move 		the stage forward and backward and right  then left.  What happens to the "e".

______________________________________________________________

D.	Human Blood smear (if time permits).

1.	Obtain a prepared slide of human blood and observe under 40X, 100X 			and 400X.  What cells did you find?

____________________________________________________________________________

Lab Report

Introductory Anatomy & Physiology

Name:

# Microscopy

1. 	Draw and label the letter "e" after focusing with 10X and 40X objectives.

2. 	Draw and label the crossed hairs after focusing with 10X and 40X objectives.

3. 	Draw and label the cheek cells (squamous cells) after focusing with 10X and 40X 	objectives.

4.	If you had enough time to look at a prepared Human Blood Smear, what cells did you 	identify?

___________________________________________________________________________

5. 	Define resolution.

6.	 What is the total magnification of the following?

Ocular magnification		Objective magnification			Total magnification

10X				40X

10X				100X

7. 	What is the function of the iris diaphragm?

8. 	List two instances when the coarse adjustment knob is never used.

9.	 When should the lenses be cleaned?  What is the correct way to clean them?

10. 	Why is immersion oil used with the 100X objective?

_________________________________________________________________________

11. 	List two common problems associated with using the microscope and how you would 	go about solving it.

12.	Using the following formula below calculate the resolving power of your oil immersion 	lens.

________________________________________________________________

Student Microscope Checklist

When finished using the microscope, complete the following.

Check off each step when completed.

Name:							Lab Section:

Date:				Microscope Number:

Bring the stage to its lowest level.

Click the 4X objective into place.

Remove the slide and dispose of appropriately.  Wipe prepared slides until ALL oil/dirt is removed (top and bottom).

Clean objective lenses with lens paper, and, if using oil, use lens cleaner.

Clean eyepieces with lens paper.

Clean condenser lens with lens paper.

If necessary, clean the stage with a damp Kimwipe.

Turn the light switch OFF.

Follow teacher's directions for method to secure the electrical cord.

Replace the dust cover if one is available.

Return the microscope to the appropriate location in the cabinet.