The Hydrogen Spectrum

Equipment Needed

Diffraction Grating 100/300/600

Board, 1” for Spectrometer

Spectrometer, Fisher Scientific

Spectrum Tube, Lamps Hydrogen

Power Supply, Spectrum Tube, SP-200

# Figure 1:  Typical Setup and Equipment

# Introduction

In this lab we will use a grating spectrometer to measure the visible spectrum of the hydrogen atom.  A spectrometer is an instrument used for measuring the wavelength of electromagnetic radiation.  It consists of several elements: a slit, a dispersive element, a way to measure angle, and a detector of the radiation.  The slit clearly defines the source of the radiation, the dispersive elements divides the radiation into its component wavelengths based on angle, then the detector is moved to a measured angle, and then detects the radiation.

In this lab the dispersive element in the spectrometer is a diffraction grating.  Diffraction gratings come in two varieties.  Reflection gratings consist of a mirror with many lines drawn on them.  Transmission gratings consist of a transparent medium such as glass or plastic with many lines drawn on it.  The spaces between the lines act as slits.  Typically, the grating is specified by giving the number of slits per distance.  In our experiment we will use a transmission grating.  The size of the slits is simply the reciprocal of the line spacing.  The detector in our experiment will be our eye, aided by a telescope.

The spectrum that we will study is the visible spectrum emitted by the hydrogen atom.  This spectrum is called the Balmer Series.  The reciprocals of the wavelengths in the Balmer Series are given by the Rydberg formula:

where

R is called the Rydberg constant and has a value  and

n takes on integer values beginning with 3.

There are typically three or four lines visible in the Balmer Series.  The first corresponding to a value of  is red, and is known as the hydrogen-alpha line.  This line is used extensively in solar studies.  The line corresponding to  is green and the last two lines visible, corresponding to  and  respectively are violet.  Lines for values of n beyond 6 are in the ultraviolet and are not visible.  In this lab we will use a spectrometer to measure the Balmer spectrum and then compare our measured values to those computed from the Rydberg formula.

# Procedure

Alignment:

- Rotate the table so that the slit is set exactly at the 270º mark.

- Loosen the bolt below the eyepiece and rotate the eyepiece so that it is 180º from the slit.

- Place the hydrogen lamp directly in front and as close as possible to the slit and turn on the lamp.

- Open the slit fully.

- Rotate the diffraction grating so that it is perpendicular to the line joining the slit to the eyepiece.

- With the room dark, take a white piece of paper and adjust the hydrogen lamp until light is visible in front of the diffraction grating.

- Turn the fine adjustment so that the hydrogen light is centered on the cross hairs in the eyepiece.

- Close the slit until the line is sharp and a little thicker than the cross hairs.

Data Acquisition, First Order

- Move the eyepiece about 8º to your right and look for lines.  You should see at least three – Violet, green, and red.  This is the spectrum corresponding to  in the condition  and is referred to as the first order spectrum.

- Carefully determine the position of each of the lines.  Use the Vernier scale to measure the angle to the nearest 1' of arc.  Small inaccuracies in your measured angle will lead to large errors.

- Repeat your measurements of the line position for the lines about 8º to the left.

Data Acquisition:  Second Order

- In the formula , we also obtain lines for higher values of m.  The lines corresponding to  are called the second order lines,  are called the third order, etc.  Find the second order lines to the left.  You will find them more easily if you calculate their approximate position first.  Carefully determine their position.

## Data Analysis

- Determine the wavelength of the first four lines in the Balmer Series using the Rydberg formula.

- Determine the wavelength for each of your measured lines using .

- Calculate the percent difference between each of your measurements and the value calculated from the Rydberg formula.

## Report Format

Turn in your data neatly organized in a table, with your calculations and results.

Answer the questions:

- Do your results agree with the Rydberg formula?  Explain.

- Does your data become more accurate with higher order?

- Why might that be the case?