Capacitance Lab

Testing Q = C V

Measuring C, V and Q for a Parallel Plate Capacitor

The purpose of the experiments listed in this part is to qualitatively study the relationship between C, V, and Q for the parallel plate capacitor. Values read by the electrometer are to be used as relative, comparative measurements.

1: V Measured, Q Variable, C Constant

- Figure 3.2 below shows the equipment set up. The Parallel Plate capacitor is connected to the electrometer. The electrometer is grounded to earth. One of the spheres is connected to the voltage source, set at 2000 VDC. Take care to place the capacitor sufficiently far away from the sphere and the voltage source, to prevent it from being charged by induction.

- Press the ZERO button to remove any residual charge from the electrometer and the plates of the capacitor.

- Set the plate separation to about 2 mm. Use a proof plane to transfer charge from the charged sphere to the capacitor plates. The charge is transferred merely by touching the proof plane to the sphere and then to one capacitor plate. If you always touch the sphere and the capacitor plate at the same place, equal amounts of charge will be transferred each time.

Question: Why is it sufficient to touch only one plate of the capacitor?

- Observe how the potential difference reading from the electrometer varies as more charge is put in the capacitor.

- Double the plate separation and repeat the experience. What happens to the potential now? Compare the values to the previous case.

Figure 3.3: Demonstration Setup

2: Q Measured, C Variable, V Constant

- Figure 3.3 above shows the equipment set up. The Parallel Plate capacitor has an initial plate separation of 6 cm and is connected to the voltage source, set at 2000 VDC. The Faraday Ice Pail is connected to the electrometer, and the electrometer is grounded to earth.

- Momentarily ground a proof plane and then use it to examine the charge density of the capacitor, using the ice pail to measure the charge. Investigate the charge density at various points on the plates - both on the inner and the outer surfaces. How does the charge density vary over the plate?

- Choose a point near the center of one capacitor plate and measure charge density in this area at different plate separations. (Keep in mind whether you are increasing or decreasing the capacitance by moving the plates.) How does the charge vary with capacitance?

3:  Q Measured, V Variable, C Constant

- Figure 3.3 shows the equipment set up, which is identical to the setup for B2. The Parallel Plate capacitor has an initial plate separation of 6 cm and is connected to the voltage source, set initially at 3000 VDC. The Faraday Ice Pail is connected to the electrometer and the electrometer is grounded to earth.

- Keep the plate separation constant and change the potential across the

plates by changing the setting of the voltage source. You have

to move the connecting cable from the 3000 V to the 2000 V slot. Examine the charge density near the center of one capacitor plate. How does the charge vary with the voltage? Repeat with 1000

VDC.	.

4: V Measured, C Variable, Q Constant

- Figure 3.4 shows the equipment set up. The Parallel Plate capacitor is connected to the electrometer and the electrometer is grounded to earth. The voltage source

will be used to only momentarily charge the capacitor.

- With the plate separation at 2 mm, charge the plates by momentarily connecting them across the voltage source, set at 30 V. Adjust the scale sensitivity of the electrometer so that the initially charged plates represent a meter reading of about 1/5 scale.

Figure 3.4: Demonstration Setup

- Increase the plate separation and note the electrometer's readings at various separations. How does the potential vary with capacitance?

NOTE: An alternative method is to charge one of the spheres and then transfer some charge to the capacitor. The charge, however, will not be as high.